**HIV Point of Care Test (INSTI™) Quality Control Log**

**Testing site:** \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Date of Quality Control**  *dd/mm/yyyy* | **Tester Initials** | **Quality Control Material**  *Negative, Positive HIV-1* | **Quality Control Lot Number**  *(On Vial)* | **POC Test Lot Number**  *(On Back of Kit Package)* | **POC Test Result**  *Reactive*  *Non-reactive*  *Invalid* | **POC Test performs as expected**  *(Yes, No)* | **Notes / Comments**  **Reason for testing (from numbers below)** | **Site Lead Review**  **Initial** |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |

|  |  |
| --- | --- |
| 1. Receive new shipment | 1. Invalid client result X 2 |
| 1. New tester, before they start testing | 1. At regular intervals - monthly |
| 1. Change to new lot number | 1. Trouble-shooting |
| 1. Temperature out of range (below 2○C or above 30○C) |  |